## Slide 1: Temperature controller
Didi Chi
Shiyu Zhang

## Slide 2: Overall
Range: 5-45°C
Heat up to maximum from room temperature: 40S
Cool down from 40 to 5 degree: 2 min
Accuracy: 0.01°C
Application: polymerase chain reaction: multiple heating cooling cycle.

## Slide 3: User Interface
Local input output: the nob(potential meter) and liquid crystal display
Remote output(cloud): Http transfer to dweet.io

## Slide 4: Signal conditioning
Thermistor: temperature VS resistance
NE555 : resistance VS frequency
Result : temperature VS frequency
Why?

## Slide 5: Signal conditioning

## Slide 6: Actuator: H-Bridge
NPN Transistors being used:
TIP41C and BC548B

## Slide 7: Simulation Result

## Slide 8: Details about the circuit
Providing power for the H-bridge:
provided by DC power Supply with 5V and 2A current limit
Two Vin: One input for controlling the heating TEC and the other end for controlling cooling TEC

## Slide 9: Details about the circuit
Heating
Heating
Cooling
Cooling

## Slide 10: Result from breadborad: 1.3A
Result from veroboard: 1A, 1.7A
Heating
Cooling
Common Ground
Vcc 5V power supply

## Slide 11: Control Signal
Bang Bang Control
User Input
Sensor
-
if > 0
else
Heat/Cool mode
Cool Mode
Heat Mode
Do Nothing
OR
OR
HEAT ON
COOL ON
Absolute difference

## Slide 12: Result
Why we did not use PID Control
Advantages and drawbacks of bang bang control
time(with one step of 0.5s long) = 1 minute 40 seconds